## Sheet1
| BID FORM: HVAC & MECHANICAL | RFQ#: FCT/R 21-22 | R 25-26 |  | CAASTLC
|  | DATE: June 7, 2021 | 9, 2025 |  | USE
ONLY
| ITEM |  | COSTS |  |  | Weighted
# | DESCRIPTION | MATERIAL $ | LABOR $ | TOTAL $ | FREQUENCY x | Total
EnergyStar Qualified Equipment
Gas Forced Air Furnace Minimum equipment warranty: 5 yr parts, 20 yr heat exchanger; use MERV 6 filters. Includes gas piping transition to coil/plenum connection & adaptation to cold air drop. Include T.E.S.P. testing. (total external static pressure)
1a | 90% afue - 40-60k Btus |  |  |  |  | 10
1b | 90% afue - 60-80k Btus |  |  |  |  | 20
1c | 90% afue - 80-100k Btus |  |  |  |  | 10
1d | 90% afue - 100-120k Btus |  |  |  |  | 1
1a | 95% afue - 40-60k Btus |  |  | 0 | 50 | 0
1b | 95% afue - 61-80k Btus |  |  | 0 | 50 | 0
1c | 95% afue - 81-100k Btus |  |  | 0 | 30 | 0
1d | 95% afue - 101-120k Btus |  |  | 0 | 10 | 0
2 | Vent PVC out thru roof (upcharge to new install) - pictures of installation and Flue Gas Analyzer printout to accompany invoice |  |  | 0 | 10 | 0
3 | ECM blower motor (upcharge to new install) |  |  | 0 | 30 | 0
Electric forced air resistance furnace 100 % afue (5 yr warranty):
3a | 5-10 kw |  |  | 0
4a | up to 15 kW |  |  | 0 | 1 | 0
4b | 16-30 kW |  |  | 0 | 1 | 0
Air source heat pump with back-up strip heat with ECM blower motor (5 year warranty)(min. 15 SEER a/c with energy star cert.) with 454B
4a
4b
4c
4d
4e
4f
4g
5a | 9 hspf - 2 ton |  |  | 0 | 10 | 0
5b | 9 hspf - 2.5 ton |  |  | 0 | 20 | 0
5c | 9 hspf - 3 ton |  |  | 0 | 10 | 0
5d | 9 hspf - 3.5 ton |  |  | 0 | 10 | 0
5e | 9 hspf - 4 ton |  |  | 0 | 1 | 0
5f | 9 hspf - 4.5 ton |  |  | 0 | 1 | 0
4n | 9 hspf - 5 ton |  |  |  |  | 0
Gas steam boiler (5 yr warranty). Include expansion tank, backflow preventer, pressure regulator valve
6 | 92% afue |  |  | 0 | 1 | 0
Gas water boiler (5 yr warranty). Include expansion tank, backflow preventer, pressure regulator valve
7 | 92% afue |  |  | 0 | 10 | 0
Air conditioner - central split system with 5 year warranty. Energy star certified with ECM blower motor. With 454B
8a | 15 SEER - 2 ton |  |  | 0 | 10 | 0
8b | 15 SEER - 2.5 ton |  |  | 0 | 20 | 0
8c | 15 SEER - 3 ton |  |  | 0 | 10 | 0
| Air conditioner 5 year warranty |  |  | 0 |  | 0
7d | 14.5 SEER - 3.5 ton |  |  | 0 | 10 | 0
7e | 14.5 SEER - 4 ton |  |  | 0 | 10 | 0
7f | 14.5 SEER - 4.5 ton |  |  | 0 | 10 | 0
7g | 16 SEER - 2 ton |  |  | 0 | 20 | 0
8d | 15 SEER - 3.5 ton |  |  | 0 | 10 | 0
8e | 15 SEER - 4 ton |  |  | 0 | 1 | 0
8f | 15 SEER - 4.5 ton |  |  | 0 | 1 | 0
9a | Window air conditioner - Install with electric present. Energy star certified. Weatherize window to prevent air leakage. Up to 10kbtu |  |  | 0 | 10 | 0
9b | Window air conditioner - Install with new electric. Energy star certified. Weatherize window to prevent air leakage. Up to 10kbtu |  |  | 0 | 10 | 0
Gas water heater (DHW) - gas power vent (6 yr warranty). Includes gas & flue piping, expansion tank, & (floor pan with drain if required).
10a | 30 gallon - short or tall |  |  | 0 | 10 | 0
10b | 40 gallon - short or tall |  |  | 0 | 30 | 0
10c | 50 gallon - short or tall |  |  | 0 | 10 | 0
Electric water heater (DHW) - 6 yr warranty. Includes electric work, water piping, expsansion tank, & (floor pan with drain if required).
11a | 30 gallon - short or tall |  |  | 0 | 1 | 0
11b | 40 gallon - short or tall |  |  | 0 | 10 | 0
11c | 50 gallon - short or tall |  |  | 0 | 1 | 0
12 | Whole home water Pressure Regulator (reducing) Valve - per local codes. (may be required for water heater install to pass inspection) |  |  | 0 | 20 | 0
CLEAN & TUNE (see associated field forms for complete procedures)
13 | Clean and Tune, Gas Heating System [each] (includes adding or replacing air filter(1), belt(s), and thermocouple if needed.) |  |  | 0 | 200 | 0
14 | Clean and Tune, Oil Heating System [each] (includes adding or replacing air filter(1), belt(s), oil filter and nozzle if needed.) |  |  | 0 | 1 | 0
15 | Clean and Tune, Electric Heating System |  |  | 0 | 10 | 0
16 | Clean and Tune, Gas Space Heater [each] (includes adding or replacing thermocouple if needed) |  |  | 0 | 20 | 0
17 | Clean and Tune, Oil Space Heater [each] (includes adding or replacing oil filter and nozzle if needed) |  |  | 0 | 1 | 0
18 | Clean and Tune, Gas Water Heater [each] (includes adding or replacing thermosouple if needed) |  |  | 0 | 50 | 0
19 | Air Conditioner Tune-up [each] (includes 1lb refrigerant charge; replacing air filter(1), if necessary) |  |  | 0 | 50 | 0
20 | Service call - Travel to and from plus one hour of work |  |  | 0 | 100 | 0
21 | Labor - Subsequent charge per hour - general |  |  | 0 | 200 | 0
THERMOSTATS
22 | Standard Programmable thermostat for air source heat pump with emergency heat |  |  | 0 | 10 | 0
23 | Programmable thermostat for air source heat pump with emergency heat WITH outdoor temperature and humidity sensors (i.e. Redlink). Auto-switch capable from H.P. to strip heat |  |  | 0 | 30 | 0
24 | Programmable thermostat - gas or electric heat & cool w/ fan |  |  | 0 | 50 | 0
25 | Thermostat, heat only - digital |  |  | 0 | 1 | 0
26 | Thermostat, heat and cool w/ fan - digital non-programmable |  |  | 0 | 10 | 0
27 | Move existing thermostat |  |  | 0 | 10 | 0
28 | Wireless thermostat kit (applicable when running wire is impractical) |  |  | 0 | 1 | 0
FURNACE REPAIR
29 | Fan/limit control |  |  | 0 | 20 | 0
30 | Universal Gas valve |  |  | 0 | 30 | 0
31 | Smart Universal Gas valve |  |  | 0 | 10 | 0
32 | Replace furnace blower motor - ECM |  |  | 0 | 20 | 0
33a | Replace furnace control (circuit) board - OEM |  |  | 0 | 10 | 0
33b | Replace furnace control (circuit) board - Universal |  |  | 0 | 20 | 0
34a | Pilot assembly, complete. Standing pilot |  |  | 0 | 10 | 0
34b | Pilot assembly, complete. Electronic ignition pilot |  |  | 0 | 10 | 0
35 | Replace burner tube(s) - per furnace |  |  | 0 | 1 | 0
36a | Install emergency disconnect switch for furnace/air handler |  |  | 0 | 10 | 0
36b | Replace emergency disconnect switch for furnace/air handler (bad switch) |  |  | 0 | 10 | 0
37 | Replace/Install pressure switch or safety switch |  |  | 0 | 20 | 0
38 | Replace high-limit switch |  |  | 0 | 20 | 0
39 | Replace/Install door panel safety switch |  |  | 0 | 20 | 0
40 | Replace furnace igniter - universal replacement |  |  | 0 | 40 | 0
41 | Replace furnace flame sensor |  |  | 0 | 30 | 0
42 | Transformer - low voltage |  |  | 0 | 1 | 0
43 | Replace furnace inducer motor |  |  | 0 | 20 | 0
VENTING
Vent pipe, single wall - per linear foot:
44a | 3" |  |  | 0 | 50 | 0
44b | 4" |  |  | 0 | 50 | 0
44c | 5" |  |  | 0 | 30 | 0
44d | 6" |  |  | 0 | 20 | 0
45 | Vent pipe, double wall (Type B) (includes elbows and connectors) |  |  | 0 | 30 | 0
Install flue-liner:
46a | 3" |  |  | 0 | 1 | 0
46b | 4" |  |  | 0 | 50 | 0
46c | 6" |  |  | 0 | 10 | 0
47a | Chimney/Flue Cap - 3 to 4" |  |  | 0 | 20 | 0
47b | Chimney/Flue Cap - 5 to 6" |  |  | 0 | 10 | 0
47c | Chimney/Flue Cap - Over 6" |  |  | 0 | 1 | 0
48 | Screened Cap for Fireplace chimney |  |  | 0 | 1 | 0
49 | PVC intake pipe for furnace per unit |  |  | 0 | 20 | 0
50 | Combination Tee (swivel tee) for natural draft appliances - Size to be specified |  |  | 0 | 20 | 0
Boiler / Water Heater Repair
51 | Replace Thermocouple NOTE: (thermocouple is included with a Clean&tune) |  |  | 0 | 20 | 0
52 | Replace water heater pressure relief valve |  |  | 0 | 30 | 0
53 | Install water heater pressure relief tube |  |  | 0 | 30 | 0
54 | Water heater control valve |  |  | 0 | 1 | 0
55 | Install/Replace Water shut-off valve at water heater |  |  | 0 | 10 | 0
56 | Install expansion tank on water heater up to 50 gallons with needed hardware |  |  | 0 | 10 | 0
57 | Boiler expansion tank |  |  | 0 | 1 | 0
58 | Boiler auto fill |  |  | 0 | 1 | 0
59 | Boiler check valves |  |  | 0 | 1 | 0
60 | Water heater burner assembly |  |  | 0 | 1 | 0
61 | Replace diverter on water heater |  |  | 0 | 10 | 0
62 | Water heater spillage alarm |  |  | 0 | 1 | 0
63 | Water heater spillage kill switch |  |  | 0 | 1 | 0
Gas Piping
64 | Install/replace black iron gas pipe - per linear foot including all connectors |  |  | 0 | 100 | 0
65 | Gas shut-off valve |  |  | 0 | 50 | 0
66 | Flex gas line alt. for dryer/ovens - 1/2 or 3/4" to be specified |  |  | 0 | 20 | 0
67 | Install gas dirt leg |  |  | 0 | 30 | 0
A/C Repair
68a | Replace a-coil - 1.5 ton |  |  | 0 | 1 | 0
68b | Replace a-coil - 2 ton |  |  | 0 | 10 | 0
68c | Replace a-coil - 2.5 ton |  |  | 0 | 20 | 0
68d | Replace a-coil - 3 ton |  |  | 0 | 10 | 0
68e | Replace a-coil - 3.5 ton |  |  | 0 | 10 | 0
68f | Replace a-coil - over 3.5 ton |  |  | 0 | 10 | 0
69 | Clean a/c indoor coil |  |  | 0 | 30 | 0
*NOTE: cleaning a/c indoor coil is included in an a/c tune-up
70 | Replace/Repair a-coil pan |  |  | 0 | 10 | 0
71 | Replace a/c capacitor |  |  | 0 | 10 | 0
72 | Replace a/c contactor |  |  | 0 | 1 | 0
73 | Replace a/c condenser fan motor |  |  | 0 | 10 | 0
74 | Charge a/c refrigerant per pound - R22 |  |  | 0 | 20 | 0
75 | Charge a/c refrigerant per pound - 410A |  |  | 0 | 20 | 0
76 | Charge a/c refrigerant per pound - 454B |  |  | 0 | 3 | 0
77 | Replace a/c filter drier |  |  | 0 | 10 | 0
78 | Clean/clear a/c condensate drain plug |  |  | 0 | 30 | 0
79 | Replace a/c condensate drain line |  |  | 0 | 30 | 0
80 | replace AC line-set insulation wrap per 6' (UV-rated for exterior) |  |  | 0 | 10 | 0
81 | Install condensate pump, including tubing to drain |  |  | 0 | 50 | 0
DUCTWORK
82 | Install filter rack on furnace (must have filter slot cover) |  |  | 0 | 50 | 0
83 | Replace cold air drop - appropriately sized for system with covered filter slot |  |  | 0 | 20 | 0
84 | Install magnetic cover for filter slot opening |  |  | 0 | 200 | 0
85 | 6" round ductwork - Smooth Rigid - per linear foot including all elbows and connectors |  |  | 0 | 50 | 0
86 | 8" round ductwork - Smooth Rigid - per linear foot including all elbows and connectors |  |  | 0 | 20 | 0
87 | Damper (volume control) in supply run |  |  | 0 | 10 | 0
88 | Duct insulation (minimum R8 - fiberglass, foil faced) - per sq ft |  |  | 0 | 50 | 0
89 | Duct mastic - seal connections [per connection] (include mesh tape) |  |  | 0 | 100 | 0
90 | Sheet metal - per sq ft. Installed and sealed per the SWS |  |  | 0 | 50 | 0
91 | Duct board with sealant - Seal exterior wall duct cavities - per sq ft. |  |  | 0 | 50 | 0
92 | Replace/install supply register |  |  | 0 | 30 | 0
93 | Replace/install return air grille/non-closeable register |  |  | 0 | 30 | 0
94 | Replace/install floor rated return air grate |  |  | 0 | 1 | 0
95 | Leave extra air filters on site (per filter, min. MERV 6) - size will be specified on work order |  |  | 0 | 200 | 0
ALARMS / CAZ TESTING / MAKE-UP AIR
96 | Install Kidde C3010D 10-year battery digital carbon monoxide alarm or equivalent with the following specifications: 1) Over 40 decibel alarm; 2) alarms at 30ppm; and 3) long life battery to provide 10-years coverage. Not energystar |  |  | 0 | 200 | 0
97 | Add combustion air grilles: 1" square net free area per 1000 Btu input |  |  | 0 | 30 | 0
98 | Automatic makeup air damper (tied to air handler fan control, timer or pressure sensor) 6" or 8" supply, not energystar |  |  | 0 | 10 | 0
99 | Exterior make up air for combustion appliances per local codes. Typical 6" high & low, air from outdoors, with screens |  |  | 0 | 10 | 0
Energystar Qualified Ventilation (Fan Installs Include Air-seal around housing & Restoring surrounding insulation)
100 | Install new exhaust fan - minimum 50 CFM on demand, <1 sone; including wiring to appropriate junction box. Must be vented to exterior through rigid insulated vent pipe - R8 or greater - location to be specified |  |  | 0 | 50 | 0
101 | Install new exhaust fan - minimum 100 CFM on demand, <1 sone; including wiring to appropriate junction box. Must be vented to exterior through rigid insulated vent pipe - R8 or greater - location to be specified |  |  | 0 | 20 | 0
102 | Replace existing bathroom exhaust fan - minimum 50 CFM on demand, < 1sone. Must be vented to exterior through rigid insulated vent pipe - R8 or greater |  |  | 0 | 20 | 0
103 | Replace existing kitchen exhaust fan - minimum 100 CFM on demand. Must be vented to exterior through rigid insulated vent pipe - R8 or greater |  |  | 0 | 20 | 0
104 | Install programmable exhaust fan control switch to allow for automatic intermittent or continuous operation. |  |  | 0 | 30 | 0
105 | Install balanced ERV - up to 70 cfm per ASHRAE 62.2, with controls. Includes required parts, penetrations and ducting per manufacturers recommendations, Use Broan, Fantech or approved equivalent, to be UL listed, HVI approved, Sone ~ 1.0, with a continuously lubricated motor. Controls, accessories, ducting, wiring and installation included, per local building codes. Demonstrate filter cleaning to owner and leave behind printed how-to and when instructions. |  |  | 0 | 50 | 0
106 | Install balanced ERV - up to 130 cfm per auditor's ASHRAE 62.2 instructions. Use Broan, Fantech or approved equivalent, to be UL listed, HVI approved, Sone ~ 1.0, with a continuously lubricated otor. Controls, accessories, ducting, wiring and installation included, per local building codes. Demonstrate filter cleaning to owner and leave behind printed how-to and when instructions. |  |  | 0 | 30 | 0
107 | Install 50 cfm single speed energy star continuous rated fan; <1 sone (62.2 compliant). |  |  | 0 | 20 | 0
108 | Replace existing exhaust fan with new 62.2 rated variable speed continuous < 1.0 sone, exhaust fan appropriately sized - up to 110 cfm (+/-) - for the size and ACH of the home per auditor ASHRAE 62.2 instructions, with on demand/kill switch. Panasonic Whisper Green, Delta GBR or approved equivalent. Includes all controls, wiring, ducting and installation, per local building codes. |  |  | 0 | 100 | 0
109 | Install exhaust fan with new 62.2 rated variable speed continuous < 1.0 sone, exhaust fan appropriately sized - up to 110 cfm (+/-) - for the size and ACH of the home per auditor ASHRAE 62.2 instructions, with on demand/kill switch. Panasonic Whisper Green, Delta GBR or approved equivalent. Includes all controls, wiring, ducting and installation, per local building codes. |  |  | 0 | 100 | 0
110 | Add GFCI / new circuit wiring as needed (beyond typical) for 62.2 fan install. |  |  | 0 | 10 | 0
111 | Add light to ASHRAE 62.2 exhaust fan installation/replacement work order. |  |  | 0 | 30 | 0
112a | Install ASHRAE 62.2 continuous rated kitchen range hood - Up to 36" black or white in color. Air king ECQ306 or equivalent. Venting & electric present. |  |  | 0 | 10 | 0
112b | Install ASHRAE 62.2 continuous rated kitchen range hood - Up to 36" black or white in color. Air king ECQ306 or equivalent with new venting & electric. |  |  | 0 | 1 | 0
113 | Install programmable exhaust fan control switch. i.e. Air Cycler Smart Exhaust or approved equivalent to allow for automatic intermittent or continuous fan operation. Must be ASHRAE 62.2 compliant; not energystar |  |  | 0 | 50 | 0
CONTRACTOR GRAND TOTAL |  | 0 | 0 | 0
Note on Bid:
CAASTLC will utilize a multiplier effect on each item to emphasize measures according to their relative work order frequency. The use of the multiplier lessens the effects of utilizing extremely low pricing on infrequently utilized measures in order to reduce the overall bid. The multiplier effect, indicated on each item, is as follows: high frequency measures (multiplier 200) down to infrequent measures (multiplier 1). The multiplier will be applied to the bid price and then the totals will be computed indicating the lowest bid as the one with the lowest cost after the multiplier effect. CAASTLC’s use of these multiplier numbers are in no way guarantees of quantity to be ordered from the contract once awarded.
MEASURE FREQUENCY
total of x 200
Total of x100
Total of x50
total of x 30
Total of x20
total of x 10
Total of x1
| Weighted Grand Total |  |  |  |  | 0

## Sheet2
note to Rick; number pages at bottom (xl will do automatically)when done.
each section heading should be at the top of a new page
lets add all forms needing signatures and informational letters (qualifications) to this packet so they are attached by bidders before awarding
Lets include the clause now approved by DeD that allows us to award jobs for up to 30 days to the secondary bidder if the following conditions
occur (include stipulations discussed earlier)